Implementing the URAI, Cybersecurity & AI Threat  framework requires a rigorous lifecycle that bridges traditional Data Science with Operational Technology (OT) domain expertise. Below is the step-by-step implementation procedure followed by the specific open-source datasets required for training each module.

Part 1: Implementation Procedure (The URAI Lifecycle)

Implementing these models in a "Critical National Lifeline Asset" environment (like a power grid or water plant) follows a seven-stage process to ensure safety and reliability.

- Architecture Mapping (The Purdue Alignment):

  - Map each threat to its specific Purdue Level (0-5).

  - Identify "choke points" for data collection (e.g., SPAN ports on Level 2 switches for SCADA traffic, Historian APIs for telemetry).

- Data Ingestion & Protocol Decoding:

  - Capture raw OT traffic (PCAPs) and decode industrial protocols (Modbus, DNP3, Profinet, IEC 61850) into structured features.

  - Extract physical telemetry (pressure, voltage, flow rates) from sensors.

- Model Selection & Hybridization:

  - Select the core model (e.g., Transformer for sequence, YOLO for vision).

  - Physics Injection: For PINN models, embed the mathematical laws of the physical process (e.g., Bernoulli’s principle for water flow) into the neural network's loss function.

- Offline Training & Validation:

  - Train models using the open-source datasets listed below.

  - Perform "Cross-Validation" using synthetic data generated by cGANs to simulate rare "Black Swan" attack events.

- Adversarial Hardening (URAI Compliance):

  - Apply PGD (Projected Gradient Descent) to test the model against evasion attacks.

  - Implement Krum aggregation if using Federated Learning to ensure "poisoned" updates from a compromised node don't corrupt the global model.

- Edge/Guard Agent Deployment:

  - Convert models to TensorFlow Lite or ONNX for deployment on "Guard Agents" (Edge gateways or TinyML devices).

- Closed-Loop Incident Response:

  - Integrate model outputs with SOAR (Security Orchestration, Automation, and Response).

  - Human-in-the-Loop (HITL): Ensure critical "Stop" commands require human verification before the AI executes them.

Open-Source Datasets for Training

To train these advanced models, you need high-fidelity datasets that include both normal operational baselines and labeled attack vectors.

| Attack / Threat Type | Recommended ML Model | Open-Source Dataset(s) |
| --- | --- | --- |
| FDI & Sensor Spoofing | PINN (Physics-Informed) | IEEE Power System FDI Dataset: Covers 30-bus and 118-bus systems with FDI samples. |
| OT Ransomware | cGAN + Transformer | UGRansome Dataset: Features zero-day threats and network flow patterns for ransomware. |
| DER & Edge Attacks | TinyML + Federated Learning | CIC-IoMT2024: Specifically designed for healthcare/IoT edge devices with distributed attack profiles. |
| Physical Sabotage | YOLOv9 + LSTM | Industrial Package Dataset: Focuses on industrial object detection. Use with UCF-Crime for anomaly sequences. |
| Firmware & Supply Chain | Graph Mamba (CFG) | HUST-FIRM: A large-scale Control Flow Graph (CFG) dataset for cross-platform firmware analysis. |
| DoS/DDoS Traffic | DRL Adaptive Shaping | CIC-DDoS2019: The gold standard for labeled DDoS traffic including reflection and exploitation attacks. |
| Insider Threat | Behavioral DNA Profiling | CERT Insider Threat Dataset: Comprehensive synthetic logs of user activity (web, email, file access). |
| General OT Anomalies | UEBA & CMDB | SWaT (Secure Water Treatment) or HAI (HIL-augmented ICS): Real-world ICS testbed datasets with multi-stage attacks. |
| Model Poisoning | Merkle + Krum + PGD | MNIST/CIFAR (Adversarial): Standard for testing Byzantine-resilient aggregation like Krum against gradient poisoning. |

Implementation Tip for Teams:

Since many of these models (like the Graph Mamba for firmware) are cutting-edge, you may need to use tools like Ghidra or angr to extract CFGs from the datasets before feeding them into the ML pipeline.

Would you like a more detailed Python/PyTorch architecture snippet for any of these specific models?